## BOQ Walkway & Drainage
BILL OF QUANTITIES
FOR
PEOPLE VEHICLE SEPARATION (PH 4 OF 6)
AT
MARSHALING AND TOTAL FILLING STATION
LOT 1
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
General Preambles
The following specifications must be taken into consideration in cases were they may not be indicated:
i | A contractor shall farmilirise himself with the works as no claims, due to fairlure to understand the scope of works shall be accepted
ii | Contractor shall allow in his rates the price of materials, transportation, plant, equipment, personel and any other services required during execution of works
iii | All rates must include the supply and installation of new items/materials
iv | Where there is a discrepancy between the drawings and BOQ, consult the Engineer or other authorised client's site representative
v | The net quantities in the BOQ shall not be used for the purpose of ordering materials. All measurments must be confirmed prior to procurement of materials
vi | Samples of materials to be availed to the Engineer for approval prior to procurment; stones, reinforcements, etc.
vii | Contractor shall provide signs and safety barrier tapes to be erected at site and to ensure good houskeeping at all times
viii | The contractor shall provide all required PPE i.e helments, gloves, safety boots, eye goggles,dust musk, work suit, etc. for his workmanship
ix | The contractor will be held responsible for any loss or damage of existing works
x | During the execution of works, site security will be the responsibility of the contractor
xi | Before handover, the contractor must clean up and dump the waste/debris to chuula dump site; provisionally 9 km away
xii | The contractor is to make good disturbed works by all trades before handover
xiii | Unless indicated , a Contractor shall supply all materials, labour and equipment
xiv | The Contractor is to carfully read and understand the scope/BOQ as any cost that will arise from failure to understand the scope will fall on the contractor
BILL No. 1 | PRELIMINARY AND GENERAL ITEMS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1.1 | Allow for mobilization, including but not limited to preparation, transportation and erecting constructional plant, equipment, offices, field laboratory on site, and preparatory works in commencing the execution of the works. | LS | 1 | 65000 | 65000
1.2 | Allow for demobilization, including but not limited to removing and shipping construction plant and equipment, returning staff, removing temporary works, and cleaning the site as specified by site Engineer. | LS | 1 | 12500 | 12500
| TOTAL CARRIED TO SUMMARY OF BILL OF QUANTITIES |  |  | ZMW | 77500
BILL No. 2 | WALKWAY
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
Site Preparation
2.1 | Cut to reduce levels, levelling and compacting the ground well along walkways 3200mm wide ready to receive gravel (ms) | m² | 1650 | 215 | 354750
2.2 | Allow for wheeling, spreading, watering and compacting gravel (Gravel to be provided by Zambia Sugar) | m³ | 225 | 115 | 25875
Excavation Works and Earthworks
2.3 | Common excavation of normal soils for edge beam and kerbstone size 400 x 300 x 250mm depth including backfilling and disposal of material as specified. | m³ | 63 | 215 | 13545
Concrete Works
2.4 | Cast C25 concrete edge beam both sides in 300 x 200mm beam | m³ | 45 | 3000 | 135000
2.5 | Cast reinforced in-situ concrete Paving ( Class 25/19) 80mm thick in walkway and shoulder | m³ | 163 | 3000 | 489000
2.6 | Cast C25 concrete in bollards poles | m³ | 36 | 3000 | 108000
2.7 | Supply and lay polythene sheet | m² | 1650 | 9 | 14850
2.8 | "Conforce" mesh type 257 (2.57 kg/m²) or other equal and approved steel fabric reinforcement lapped minimum 150mm at sides and ends including all necessary bends, hooks, tying wire and distance blocks embedded in drain walls, bottom and top (measured net - no allowance made for laps) | m² | 1650 | 25 | 41250
Kerbstones and bollards
2.9 | Supply and lay precast concrete 900 x 250 x 100mm ex. kerbs laying on conc. bases(ms) along the edges of the pavers in cem/sand 1:5mix mortar as directed by Engineer. | m | 600 | 520 | 312000
2.1 | Allow for installation of 150mm diameter x 3.5mm round hollow section bollards approximatelly 1000mm long with one end cast into base spaced at 4m | No. | 150 | 120 | 18000
2.11 | Yellow and black painting of kerbstone | m | 600 | 75 | 45000
| TOTAL CARRIED TO SUMMARY OF BILL OF QUANTITIES |  |  | ZMW | 1557270
BILL NO 3. | DRAINAGE
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
3.1 | Excavate in "pickable material" and shaping to the required size for trapezaidal open drain starting at existing formation level not exceeding 1.50m deep and get out, load and dispose on site where directed | m³ | 180 | 215 | 38700
3.2 | Rip, scarify and compact top 150mm layer of in-situ material beneath SW channel to 93% MOD AASHTO to within ±2% of OMC | m² | 620 | 115 | 71300
3.3 | Import G8 material and compact in 150mm layers to 93% MOD AASHTO to within ±2% of OMC Concrete works | m³ | 220 | 115 | 25300
3.4 | Cast in situ concrete lining class 25/19 for open drain with Class U2 finish, including formwork where required with Class F2 finish to trapezoidal drain | m³ | 216 | 3000 | 648000
3.5 | "Conforce" mesh type 257 (2.57 kg/m²) or other equal and approved steel fabric reinforcement lapped minimum 150mm at sides and ends including all necessary bends, hooks, tying wire and distance blocks embedded in drain walls, bottom and top (measured net - no allowance made for laps) | m² | 2160 | 25 | 54000
3.6 | Polyethylene sheeting (0,15 mm thick) for concrete-lined open drains | m² | 2160 | 9 | 19440
3.7 | Cutting bituminous and pavement layers for concrete channelling or concrete lined drains | m | 823 | 98 | 80654
3.8 | Sealed joints in concrete linings of open drains with Polysulphide sealants | m | 823 | 120 | 98760
Culverts
3.9 | Allow for supply and installation of 1200mm boxed culvert on truck crossing, laying and jointing in culvert including concrete bases | m | 22 | 20000 | 440000
3.1 | Allow for construction of head walls in 200mm thick concrete C25 | m² | 14 | 3000 | 42000
| TOTAL CARRIED TO SUMMARY OF BILL OF QUANTITIES |  |  | ZMW | 1518154
BILL NO. 4 | GENERAL WORKS
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
4.1 | General site leveling and cleaning for handover | Item | 1 | 25000 | 25000
| TOTAL CARRIED TO SUMMARY OF BILL OF QUANTITIES |  |  | ZMW | 25000
BILL SUMMARY
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1 | BILL No. 1 PRELIMINARY AND GENERAL ITEMS |  |  |  | 77500
2 | BILL No. 2 WALKWAY |  |  |  | 1557270
3 | BILL No. 3 OPEN DRAINAGE |  |  |  | 1518154
4 | BILL No. 4 GENERAL WORKS |  |  |  | 25000
| TOTAL (VAT EXCLUSIVE) |  |  | ZMW | 3177924